| Document | Reference | Inquiry | Response | Attachment | RM | Country |
| --- | --- | --- | --- | --- | --- | --- |
| 61770 | 9.3 | Concerning the last paragraph of IEC 61770 that states: After the test, the marking shall be clearly legible. It shall not be easily possible to remove marking plates and they shall show no curling. We proposed to have a label attached to the hose set with the required marking information per clause 9.3 IEC61770 as in the following photo. Is such a marking allowed. | New Zealand 1: Confirmed DRAFT RESPONSE For the standard as written you cannot have a flag tag. To allow such a method would require a change to the standard. Reference to marking plate refers to a sticker wrapped around the hose longitudinally or similar. | 61(Washington/Chairman)02a - New Zealand 1 | 61/4953/RM | New Zealand |

Attachments

61(Washington/Chairman)02a – New Zealand 1